## Slide 1: Belle-II実験への導入に向けた TOPカウンターの研究開発
特定領域「フレーバー物理の新展開」研究会
2010/2/23
森 隆志 （名古屋大）

## Slide 2: Contents
Introduction
Current status of R&D
Configuration study
Summary & Plan

## Slide 3: 1. Introduction

## Slide 4: Belle Experiment
Our target of development : Belle-II experiment
Belle detector
Higher statistics： Higher luminosity ×~50
B-factory
⇒Super B-factory
Higher accuracy ： Belle detector upgrade
＆
e+e- asymmetric collision
e+ : 3.5GeV
e- : 8.0GeV
e+e- → Υ(4S) → BB
π/K ID is key device for flavor tag

## Slide 5: Our Motivation
Current PID system of Belle
For B0 → π+π- analysis
  B0 → K +π- is big background
If separation power : 4σ
  S/N ×5
π/K separation power : 3σ
2.6m
1.2m
e-
7.0GeV
e+
4.0GeV
1.5T
前方
後方
Install here
(10cm gap of barrel part)
Separation power
  3σ ⇒ 4σ
  0.6 < p < 4 GeV/c
(ACC:Threshold type
aerogel Cherenkov counter)
TOF + ACC
TOP counter
Only suitable solution!
Upgrade

## Slide 6: Principle of TOP counter
time includes TOF information
TOP(Time Of Propagation) counter: new type of RICH counter
  Cherenkov radiator + time sensitive screen
    RICH: Position (x, y)  TOP: Position + time (x, t)
    Very compact & simple
TOP counter measures
TOF + RICH
High performance expected!
1.18m
TOF
TOP
π
K
⊿ t ～ O(100ps)

## Slide 7: Expected Performance
2-bar + focusing mirror, multi-alkali photo-cathode
4σ separation up to 4GeV/c
<3% fake rates in forward region
cosθ
前方
後方
cosθ

## Slide 8: 2. Current status of R&D

## Slide 9: Quartz radiator
時間分解能測定
  Single photon pulse laser
    l=407nm
  MCP-PMT
  Several incident position
 TTSはPMT直接入射と同等
  Quartzの性能を確認！
Propagation length [mm]
Time resolution [ps]
Line 1
Line 2
Line 3
s<40ps
Quartz
MCP-PMT
47.2 deg.
MCP-PMT

## Slide 10: Photo-detector: MCP-PMT
実用に向けたすべての要求を満たす
  TTS
    ～30ps
  QE
    20%@400nm
    さらに改良を検討 （35%程度？)
  Gain
  位置分解能
    4x4ch(or 1x4ch)
  Lifetime
詳細  明日の有田君の発表
一光子照射時の時間分布
Q.E.波長依存性
角型
MCP-PMT
28mm
life

## Slide 11: Structure Design in Progress
隣の検出器とのギャップをなるべく小さく
  外側：ECL(電磁カロリーメータ)
    Backscattering check
  内側：CDC(中央飛跡検出器)
    CDCの半径を大きく
PMT着脱用スペース

## Slide 12: 3. Configuration study

## Slide 13: Issues
2 configurations of TOP counter
Realistic estimation of performance in Belle-II
  T0 jitter & tracking resolution
    これまであまり考慮に入れてこなかった
    σ(t0) = 25[ps]
    σ(θ)= σ(φ)= 1.5[mrad], σ(z) = 1.4[mm], σ(x) = 1.0[mm]
      現在のBelle検出器の値とBelle-II検出器でのシミュレーションから見積った
1-bar
2-layer PMT
2-bar
double sided PMT
どちらが
適しているか？

## Slide 14: 不定性を考慮にいれたときの性能
低運動量は問題なし
4GeV/cの前方以外は2-bar > 1-bar
Physics Case?
cosθ
cosθ
Efficiency
Fake rates
前方
後方
前方
後方
光電面：マルチアルカリ
3GeV/c
4GeV/c

## Slide 15: Physics Case Study
B  Kπ, B  ππ
  e-: 7GeV, e+: 4GeV
    π, Kそれぞれ運動量、角度ごとにefficiency, fake rateをかけた
      Correlationは無視
  1-barと2-barの間にほとんど差はない
  運用中の状態に対するrobustnessはどうか？
    tracking resolution
    t0 jitter
    Quartzの面取り
 | ε(K; K) | ε(K;π) | ε(π; K) | ε(π;π)
1-bar | 0.96 | 0.027 | 0.044 | 0.97
2-bar | 0.96 | 0.023 | 0.040 | 0.98

## Slide 16: Robustness to tracking resolution
No t0 jitter
2-bar > 1-bar
1-barは伝播距離が長い 角度不定性の影響大
cosθ
cosθ
Efficiency
Fake rates
前方
後方
前方
後方

## Slide 17: Robustness to t0 jitter
Perfect tracking resolution
1-bar > 2-bar
2-barの性能はforward部分(cosθ～0.7)でTOFに依存する t0不定性の影響大
cosθ
cosθ
Efficiency
Fake rates
前方
後方
前方
後方

## Slide 18: 石英に面取りを入れた時の性能変化
Efficiencies
Fake rates
lcham: chamfering depth
3GeV/c
1-bar
2-bar
面取りでの乱反射によりリングイメージが乱れる。バックグラウンドの増加

## Slide 19: 4. Summary & Plan
TOP counter : 新型の粒子識別装置、Belle-II実験への導入
  （RICH  １次元位置 + 時間情報） + TOF
TOP counter 開発： プロトタイプの性能テスト×２
  Quartz bar、MCP-PMT: 要求性能を達成
    特に今年度、Belle-IIにおいて３年間安定動作するMCP-PMTの開発に成功した。
  構造体の設計を進行中
Configuration study
  1-barタイプと2-barタイプの候補
  t0 jitter, tracking resolutionを考慮に入れると
    Robustness to t0 jitter: 1-bar > 2-bar
    Robustness to tracking resolution: 2-bar > 1-bar
  Quartzの面取りの影響：0.5mmのとき、fake rateが最大で約２倍に悪化
    Robustness: 2-bar > 1-bar
Configuration studyによってわかったことを総合して最終的な仕様決定を行う
  3月中  4月に発注
Summary
Plan

## Slide 20: Backup Slides

## Slide 21: Photo-detector
Requirements
  Gain : 1.0×106
  TTS : <40ps
  QE : >20%@λ=400nm
  Available in B -field
(Micro Channel Plate)
Only photo-detector
satisfies requirements
MCP-PMT
Square type MCP-PMT
Co-development
with Hamamatsu Photonics
Channel
~400m
~10m
Channel φ~10μm, Bias angle of MCP : 13°
Available in B-field

## Slide 22: Beam Test Result
1st
2nd
3rd
1st
2nd
3rd
We confirmed consistency of transit time distributions for beam test & simulation
 | TTS（1st peak）
Data | 76.0±2.0 [ps]
Simulation | 77.7±2.3 [ps]
Beam irradiation point
(875mm)
875mm
915mm
quartz
3rd
2nd
1st
ch29
transit time[25ps]
[photons]
transit time[25ps]
カウント数
data
simulation

## Slide 23: Chromatic Dispersion
Chromatic dispersion
group velocity of light [m/ns]
wavelength [nm]
wavelength [nm]
number of detected photons
Typical wavelength distribution
of detected photons
Typical wavelength distribution
of group velocity of light
Restricts TOP TTS
This is because refraction index has wavelength dependence

## Slide 24: Suppression of Chromatic Dispersion
Wavelength cut
Group velocity
of light
Number of
Cherenkov photons
Transmittance of
wavelength cut filter
350nm
Suppression of chromatic dispersion
with 350nm wavelength cut filter
wavelength cut ⇒ TTS improve
⇒
Ndet decrease
fine tune
σchromatic
50
25ps

## Slide 25: 読み出し
BLAB3
From Hawaii group

## Slide 26: 読み出し
HV divider + AMP + Discriminator
Small size (28mmW)
Prototype
  Fast AMP (MMIC, 1GHz, x20)
  Fast comparator (180ps propagation)
  CFD with pattern delay
Performance
  Test pulse
    ~5ps resolution
  MCP-PMT
    s<40ps
    Working well
comparator
amp
input
low voltage supply
to TDC
to ADC
AMP+CFD
Backup option

## Slide 27: Belleでのtrackの角度不定性
σ(θ) [mrad]
σ(φ) [mrad]
[GeV/c]
[GeV/c]
p [GeV/c] | particle | σ(dz) [mm] | σ(φ)[mrad] | σ(θp)[mrad] | σ(φp)[mrad]
2 | π | 2.0 | 0.57 | 2.6 | 3.6
2 | K | 1.8 | 0.49 | 2.6 | 3.3
3 | π | 1.4 | 0.45 | 1.8 | 2.5
3 | K | 1.3 | 0.39 | 1.8 | 2.3
4 | π | 1.3 | 0.42 | 1.5 | 2.0
4 | K | 1.2 | 0.33 | 1.4 | 2.0
Belle
Belle-II

## Slide 28: Mirror Bar Glued Accuracy
0.2mrad
mirror part
20mm
変化なし。

## Slide 29: 比較
 | 1-bar | 2-bar
Structure | Need expansion block support | Need forward PMT box Strong bar box (btw 2-bar)
Gap TOP-CDC | Slightly large (~25mm) | Minimum
PMT window | Access from inner part | Access from endcap or inner
Acceptance | Large for forward | There is a small gap btw 2-bar
Calibration | --- | Precise timing(<35ps) for forward
PMT choice | Photonis or SBA SL10 | SL10
Construction | Mirror alignment? | 2m prototype
Tracking | Affected (<2mrad) | ---

## Slide 30: Machine parameters
 |  | LER | HER | 
Emittance | ex | 3.2 | 1.7 | nm
Coupling | ey/ex | 0.40 | 0.48 | %
Horizontal beta at IP | bx* | 32 | 25 | mm
Vertical beta at IP | by* | 0.27 | 0.42 | mm
Horizontal beam size | sx* | 10.1 | 10.1 | mm
Vertical beam size | sy* | 0.059 | 0.059 | mm
Bunch length | sz | 6 | 5 | mm
Half crossing angle | f | 41.3 |  | mrad
Beam Energy | E | 4 | 7 | GeV
Beam Current | I | 3.6 | 2.6 | A
Number of bunches | nb | 2500 |  | 
Beam-beam parameter | xy | 0.09 | 0.09 | 
Luminosity | L | 8x1035 |  | cm-2s-1

## Slide 31: t0について
t0の要因
  RF clock：10ps
  バンチの広がり(6mm)：20ps
  TOF calculation：10ps
  読み出し(BLAB3)：5ps
別の要因があればσ(t0) > 25ps

## Slide 32: SBAにすると

## Slide 33: SBAでσ(t0) = 50ps になると

## Slide 34: 石英の面取りを入れた時の性能変化
Efficiencies
Fake rates
面取りでの乱反射によるリングイメージの乱れがおきる。バックグラウンドの増加
4GeV/c
1-bar
2-bar

## Slide 35: B  Kπ, 1-bar

## Slide 36: B  Kπ, 2-bar